MANPOWER SUMMARY DATED : 4 MAR 2013

MECHANICAL ENGG-1 , ELECTRICAL FOREMAN-1 , MECHANICAL FOREMAN-1

PLUMBERS-20, ELECTRICIANS-14 , DUCTMAN-9

OUTSTANDING ISSUES FOR MECHANICAL IN TMW

1. LEVEL 45 –SMOKE EX DUCT CONNECTION - craddle
2. LEVEL 43- GRILLS FOR THE WASHROOM AREA & SWIMMING POOL AREA – detail list required
3. LEVEL 47-LEVEL 7- GRILLS FOR THE STAIR CASE
4. LEVEL 24 – STAINLESS STEEL WORKS IN ECU ROOM
5. EI 193 FOR EYE WASH WATER SUPPLY OUTLETS

OUSTANDING ISSUES FOR ELECTRICAL IN TMW

1. LEVEL 41-7 –DB TAGGING
2. LEVEL 33-24 & 15-7 – WIRING ACCESS – SWITCH 10A 1GANG 1 WAY (S8870PRL), INTERMEDIATE SWITCH 10A 1 GANG(S8879PRL),S.SOCKET 13A 1 GANG (S2757)- NOT AVAILABLE IN STORE
3. LEVEL 35-25 & 18-7 –MICRO SWITCH- NEED 250 NOS MORE AS PER THE TAKE OFF
4. LEVEL 44- SIGNAGE PROVISION –CABLE PULLING ONGOING
5. LEVEL 7,8,9,23- SPOT LIGHTS NOT AVAILABLE – 310 NOS
6. LEVEL 41-25-FIXING DP SWITCH FOR COOKER AND OVEN
7. FIXING OF BATTERY BACK UP
8. FIXING OF MUSIC JACK AND VOLUME CONTROL
9. L 46 - FA CR FOR VFD
10. LEVEL 17 - RELOCATION OF DB EI
11. LEVEL 18,19- HANDICAPPED TOILET ALARMS 3 ROOMS TOTAL EI
12. LEVEL 24- ACCES CARD SYSTEM FOR LOBBY EI 253
13. EI 200 FOR MEDIA HUB
14. EI 205 FOR STB POWER PROVISION